## Slide 1: General Manager’s Update
February 10, 2025
Regular Board Meeting
Presented by Georgia Woods

## Slide 2: Status of BCPUD’s Water Supply
Note January’s comprehensive Water Supply memo will soon be posted on our Website HERE.

## Slide 3: Upper impoundment: filled!
Lower impoundment
Arroyo Hondo:
on 2/7/2025
on 2/6/2025

## Slide 4: Lower Dam
The upper impoundment has been filled with debris. We have moved to the lower dam and lowered the radial gate. We started drawing from the lower dam last Friday.
on 2/7/2025
on 2/7/2025

## Slide 5: Woodrat 1 on 1/15/2025
Woodrat 2
on 12/3/2024
The Reservoirs:
Azolla was removed 1/15 and 1/16, costing $5,460.00; for total $12,900 for FY 2024/2025

## Slide 6: Azolla, needed a second day of removal...

## Slide 7: Winter 2024-25 Water Usage Trends
PRODUCTION​
In January 2025, water production in the district averaged 197 gallons per day (GPD)​ per connection
This is UP from December's production, which averaged 93 GPD per connection​
​
CONSUMPTION​​
Water consumption in January averaged 119 GPD (per connection)​​
This is (roughly) EQUAL to December consumption, which averaged 117 GPD per connection.
Chart: Avg Production/Consumption per Connection
| 45597 | 45627 | 45658
Production | 155 | 93 | 197
Consumption | 151 | 117 | 118

## Slide 8: Comparison to past two years
Average use per connection:
Jan 2023 – 93 GPD
Jan 2024 – 99 GPD
Jan 2025 – 119 GPD
20% increase per connection compared to last January
Chart: Average Consumption per Connection
| 44927 | 45292 | 45658
Series 1 | 93 | 99 | 119

## Slide 9: 2024-25 Water Usage Trends

## Slide 10: Annual Trends Since 2006—We've not yet input data from January's meter reads! Quarterly Water Usage through Dec 2024
This graph shows “Cumulative Quarterly Water Usage”, as measured by “Regional Quarterly Water Meter Reads”
Remember: at the beginning of each month staff reads all meters within 1 of 3 given regions:
  1) BACK MESA
  2) DOWNTOWN
  3) MID MESA
Annual Rain Fall is plotted as a BLUE LINE
Town Consumption Estimates, based on the amount of water leaving the treatment plant daily is shown in PINK LINE.
GREEN LINE is an extension of pink line, which models consumption based on an absolute unaccounted for water loss of 437,856 CuFt (~10% loss)

## Slide 11: Meetings Attended

## Slide 12: Meetings Attended (1 of 1): Sea Level Rise!
Attended Marin County's Sea Level Rise Adaptation planning meeting
This work is being conducted by AECOM
AECOM is a consulting firm hired by the County of Marin to help a County Wide effort to address Sea Level Rise
The purpose of this specific meeting was to get stakeholder input from the heads of Special Utility Districts in West Marin
Director Alexander-Green was also in attendance

## Slide 16: Operations Updates

## Slide 17: Operations Update (1 of 4): LEAKS
Hopefully getting to this next week after this week's forecasted rains.
We are planning to get Piazza out here next week.
We will also be using this repair as a test case to see if we can strategize ways to bring down our paving costs.

## Slide 18: Operations Update (2 of 4): Storm Damage and Planned Repairs
We sustained some damage from last week's storm along the Arroyo Hondo Access Road
Damage to culvert and slides
on 2/7-2/10, 2025
on 2/4/2025

## Slide 19: Operations Update (2 of 4): Storm Damage and repairs
We will be looking to replace one of the culverts at the "Double Barrel" crossing.
There is also another culvert that has sustained damaged and may need to be repaired, especially after this next round of rains.
We are currently working with the National Park Service to get approval for this emergency work order.
Don Murch will be helping with the repair. We are currently estimating the repair at $6000.
We are also looking for potential reimbursement via Marin County Office of Emergency Management.
on 2/7-2/10/2025

## Slide 20: Please avoid hiking on the Arroyo Hondo trail until further notice!

## Slide 21: Operations Update (3 of 4): Well Projects
Well Projects are moving along
We have the Storage box at Mesa Park for the Resource Recovery Well
We did a walk through for electrical work with Mesa Electric for both Well projects
We still need to prepare a revised budget and request additional funds from DWR (grant funder) of >$100K to cover our construction shortfall

## Slide 22: Operations Update (4 of 4): Tank-Site Pipeline Replacement project
Piazza is almost done!
There is about 1 more day of electrical work.
After the work is finalized, I will present a special report summarizing total costs and closing out the project.

## Slide 23: Tank site construction photos...

## Slide 24: Tank site construction photos...

## Slide 25: Tank site construction photos...

## Slide 26: Governance Updates

## Slide 27: Governance Update (1 of 1): LAFCO Representative
Do any BCPUD Directors have any interest in being nominated to serve as a Local Agency Formation Commission (LAFCO) representative?
If so, the deadline for nominating you is tomorrow!
LAFCO oversees the formation and organization of local government agencies. LAFCOs aim to:
  Encourage orderly formation and development of local governmental agencies.
  Preserve agricultural and open-space lands.
  Discourage urban sprawl
Each of California's 58 counties has its own LAFCO, which reviews proposals for the creation, expansion, or reorganization of cities and special districts to ensure efficient and logical service delivery

## Slide 28: Miscellaneous Updates

## Slide 29: Miscellaneous Update (1 of 1): Marin County's Public Works Projects in Bolinas:
I'll be going to the County Office to meet with Principal Civil Engineer, Robin Bartlett, at the County this Thursday:
I'll be looking to discuss status updates on 2 projects:
  Wharf Road & Sea Wall
  Surfer's Overlook
I have brought to their attention an issue we raised in BCPUD's letter to CDA regarding proposed amendments to the Local Coastal Program; I'll also be looking to discuss this issue with them further.